## Slide 1
Chromatography –iv
T.Mounica
Dept of pg chemistry

## Slide 2
LIQUID - LIQUID PARTITION CHROMATOGRAPHY
Principle:-
Mixture of components separated into individual components due to different partition properties of the components between two immiscible phases. In LLPC stationary phase is liquid coated on solid & mobile phase is liquid.
These are classified into two types
Normal phase
Reverse phase

## Slide 7: High performance liquid chromatography principle:- mixture of non volatile components separated into individual components basing on the different partition properties between two immiscible phases by applying high pressure to the mobile phase . Here, Stationary phase – liquid coated on solid mobile phase – liquid

## Slide 20: Sample injection port

## Slide 21: Guard columns are installed between the injector and the analytical column of a HPLC system, mainly to protect analytical columns. Guard columns are widely used as a cost effective for prolong HPLC column life. Exchangeable cartridge design and unchangeable packing design are offered.

## Slide 24: Uv fluorescence detector

## Slide 27: Lc-ms

## Slide 31: Electrical ionisation

## Slide 32
THANK YOU